## Sheet1
PINELANDS CID CCTV - NVR AND CONTROL ROOM INSTALLATION - SCHEDULE OF QUANTITIES
SECTION A: PRELIMINARY AND GENERAL
Tendered rates
Item | Description | Unit | Qty | Rate R-c | Total R-c
1 | PRELIMINARY AND GENERAL
1.1 | 12 Month Guarantee & Maintenance Allowance | Sum | 1 |  | 0
1.2 | Quality Assurance Procedures | Sum | 1 |  | 0
1.3 | Project Management | Sum | 1 |  | 0
1.4 | OHS compliance | Sum | 1 |  | 0
2 | TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 0
SECTION B: NVR INSTALLATION
Tendered rates
Item | Description | Unit | Qty | Rate R-c | Total R-c
1 | Hikvision NVR
1.1 | Hikvision DS-9632NI-M8 incl 8x 10TB surveillance HDD
1.1.1 | Supply | No. | 7 |  | 0
1.1.2 | Install | No. | 7 |  | 0
1.2 | NVR configuration for existing CCTV cameras
1.2.1 | Setup and configuration incl connection to radio network and Zonewatch network | Sum | 1 |  | 0
1.3 | NVR configuration for FirstAlert integration
1.3.1 | Setup and configuration to FirstAlert service | Sum | 1 |  | 0
2 | Control Room
2.1 | Operator desk and chair
2.1.1 | Supply | No. | 1 |  | 0
2.1.2 | Install | No. | 1 |  | 0
2.2 | Operator PC (including mouse and keyboard) - Dell Tower Plus Core Ultra 7 265
2.2.1 | Supply | No. | 1 |  | 0
2.2.2 | Install and configure | No. | 1 |  | 0
2.3 | 34" curved monitor incl stand - Dell P3425WE
2.3.1 | Supply | No. | 2 |  | 0
2.3.2 | Install | No. | 2 |  | 0
2.4 | 55" overview monitor incl adjustable wallmount bracket - Samsung U8000F 4K Crystal UHD
2.4.1 | Supply | No. | 2 |  | 0
2.4.2 | Install | No. | 2 |  | 0
2.5 | 42U network cabinet incl accessories as per specification
2.5.1 | Supply | No. | 1 |  | 0
2.5.2 | Install | No. | 1 |  | 0
2.6 | 24-port Network switch incl 1Gbps Single-mode SFP - Aruba HPE ANW 6000 24G 4F
2.6.1 | Supply | No. | 2 |  | 0
2.6.2 | Install and configure | No. | 2 |  | 0
2.7 | 2-channel Execuduct powerskirting
2.7.1 | Supply | m | 30 |  | 0
2.7.2 | Install | m | 30 |  | 0
2.8 | 150mm wire mesh cable tray including mounting hardware
2.8.1 | Supply | m | 15 |  | 0
2.8.2 | Install | m | 15 |  | 0
2.9 | Dedicated electrical socket outlet in Execuduct powerskirting or P8000 trunking
2.9.1 | Supply | No. | 21 |  | 0
2.9.2 | Install | No. | 21 |  | 0
2.1 | Electrical 20A circuit breaker
2.10.1 | Supply | No. | 5 |  | 0
2.10.2 | Install | No. | 5 |  | 0
2.11 | Electrical P8000 trunking including mounting hardware
2.11.1 | Supply | m | 15 |  | 0
2.11.2 | Install | m | 15 |  | 0
2.12 | Electrical cabling
2.12.1 | Supply and install | Sum | 1 |  | 0
2.13 | Sundries (display cables, power cables, mounting cradles etc)
2.13.1 | Supply and install | Sum | 1 |  | 0
3 | COPPER CABLING INSTALLATION
3.1 | Data points, complete with CAT6A UTP Solid Molex cable, two molex keystone jacks and accessories as per the specification (20m average length), installed to the outlet point
3.1.1 | Supply | No. | 9 |  | 0
3.1.2 | Install (Excluding testing and commissioning) | No. | 9 |  | 0
3.2 | 24-port CAT6 patch panel (blank)
3.2.1 | Supply | No. | 1 |  | 0
3.2.2 | Install | No. | 1 |  | 0
3.3 | Patch Leads Molex CAT6 UTP, complete with RJ45 moulded plugs
3.3.1 | 2m Grey Supply | No. | 9 |  | 0
3.3.2 | 2m Grey Install | No. | 9 |  | 0
3.4 | Fly leads Molex CAT6 UTP, complete with RJ45 moulded plugs
3.4.1 | 3m Grey Supply | No. | 9 |  | 0
3.4.2 | 3m Grey Install | No. | 9 |  | 0
4 | COPPER CABLING INSTALLATION
4.1 | Data points, complete with CAT6A UTP Solid Molex cable, two molex keystone jacks and accessories as per the specification (15m average length), installed to the outlet point
3.1.1 | Supply | No. | 9 |  | 0
3.1.2 | Install (Excluding testing and commissioning) | No. | 9 |  | 0
5 | OTHER
5.1 | Sundries | Sum | 1 |  | 0
6 | TOTAL CARRIED FORWARD TO NETWORK SUMMARY PAGE |  |  |  | 0
SECTION C: TESTING, COMMISSIONING AND HANDING OVER
Tendered rates
Item | Description | Unit | Qty | Rate R-c | Total R-c
1 | TESTING, COMMISSIONING AND LABELLING
1.1 | Testing and Commissioning of network point, including test report | No | 9 |  | 0
1.2 | Data Outlets: Labelling of all data points at cabinets and outlets | No | 9 |  | 0
1.3 | Testing and Commissioning of CCTV recording system | Sum | 1 |  | 0
1.4 | Testing and Commissioning of electrical installation including CoC | Sum | 1 |  | 0
2 | AS-BUILT DOCUMENTATION
2.1 | Nett amount for the provision of "AS-BUILT" drawings as per the specification | Sum | 1 |  | 0
3 | INSPECTIONS AND HANDING OVER
3.1 | Wireway, data cabling and termination inspection | No | 1 |  | 0
3.2 | Handing over | No | 1 |  | 0
4 | TOTAL CARRIED FORWARD TO NETWORK SUMMARY PAGE |  |  |  | 0
SECTION D: SUMMARY
Tendered rates
Item | Description | Unit | Qty | Rate R-c | Total R-c
1 | SECTION A: PRELIMINARY AND GENERAL |  |  |  | 0
2 | SECTION B: NVR INSTALLATION |  |  |  | 0
3 | SECTION C: TESTING, COMMISSIONING AND HANDING OVER |  |  |  | 0
4 | SUBTOTAL |  |  |  | 0
5 | CONTINGENCIES |  | 10% |  | 0
6 | TOTAL CARRIED FORWARD TO ELECTRONIC SUMMARY |  |  |  | 0
7 | VAT |  | 15% |  | 0
8 | TOTAL |  |  |  | 0